| the information contained in this drawing shall not be reproduced in any form without permission in writing from solartron metrology ltd. ( 2004 |
| --- |
| solartron metrology ltd., steyning way, bognor regis, sussex, england, po22 9st |
| tolerances unless otherwise stated | tolerances unless otherwise stated |
| hole diameters size to plus. | hole diameters size to plus. |
| dimensions in mm | dimensions in mm |
| Original Author | Refer to original EDCR |  | 22/09/2004 |
| Last Modified by | Pavel Kramorenko |  | 11/01/2017 |
| Approved by | Nick Deadman |  | 11/01/2017 |
| FOR EFFECTIVITY DATE REFER TO EDCR |
| 1 | 22659 | 2 g tip force option added. Adapter spares corrected to 80xxxx-SX |
| E | 19229 | Updated for Orbit3 |
| D | 18960 | 25 g and 30g spring options removed. |
| C | 16734 | Maximum cable length added |
| B | 16645 | Part numbers updated |
| A | 16297 | New Document |
| Issue | EDCR | Change Comments - for detailed information refer to EDCR. |
| Document summary: |
| Digital Lever Probe Ordering Guide |
| Document Types: WI, OP, FORM, PS, TS, ES |
| Title | Number |
| DIGITAL LEVER PROBE ORDERING GUIDE | 502573 |

ALL COPIES OF THIS DOCUMENT MUST BE CONFIRMED AS LATEST ISSUE

| Form No: | 502573 | DIGITAL LEVER PROBE ORDERING GUIDE |
| --- | --- | --- |

|  | D | L |  | 0 | 5 |  |  |  |  |  |  |  |  |  | -3 (denotes Orbit3) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Cable Length – x (m) (Maximum length 5m) |  |  |  |
| --- | --- | --- | --- |
| Tip Force – xx |  |  |
| 0 | 2 |  | 2 g |
| 0 | 5 |  | 5 g |
| 1 | 0 |  | 10 g |
| 1 | 5 |  | 15 g |
| 2 | 0 |  | 20 g |
| Stylus Ball Tip Diameter - xxx |  |
| 0 | 3 | 9 |  | Ball Ø 0.39 mm (0.015’) |
| 0 | 7 | 9 |  | Ball Ø 0.79 mm (0.031’) |
| 1 | 5 | 9 |  | Ball Ø 1.59 mm (0.062’) |
| 2 | 5 | 4 |  | Ball Ø 2.54 mm (0.100’) |

# The following accessories can be ordered separately

###### Spare / Replacement Stylii

Ball Ø 0.39 mm (0.015’)		Part Number 008307-015

Ball Ø 0.79 mm (0.031’)		Part Number 008307-031

Ball Ø 1.59 mm (0.062’)		Part Number 008307-062

Ball Ø 2.54 mm (0.100’)		Part Number 008307-100

### Adapters

8 mm Peg Adapter			Part Number 804919-SX

Industry Standard Dovetail Adapter		Part Number 804920-SX