| the information contained in this drawing shall not be reproduced in any form without permission in writing from solartron metrology ltd. ( 2005 |
| --- |
| solartron metrology ltd., steyning way, bognor regis, sussex, england, po22 9st |
| tolerances unless otherwise stated |  |
| hole diameters size to plus. |  |
| dimensions in mm |  |
|  | Name | Signature | Date |
| Original Author | Refer to original EDCR |  | 11/04/2005 |
| Last Modified by | Pavel Kramorenko |  | 13/10/2015 |
| Approved by | Andrew Keal |  | 13/10/2015 |
| FOR EFFECTIVITY DATE REFER TO EDCR |
| 6 | 22029 | Description added |
| 5 | 21851 | Spring + Tip options added |
| 4 | 19227 | Updated for Orbit3 |
| 3 | 19154 | * Not for S200 & S300 added |
| 2 | 18974 | Guided Core/Carrier + Spring + Tip(Not for S100 & S150) added to Retrofittable Accessories |
| 1 | 18768 | Configurator re-designed and raised to issue 1 |
| E | 17171 | Title Changed and layout clarified. |
| D | 17102 | Terminology standardised. Solartron PIE module added. |
| C | 16917 | P and V added to Core/Carrier Type |
| B | 16969 | UPDATED |
| A | 16969 | NEW FORM |
| Issue | EDCR | Change Comments - for detailed information refer to EDCR. |
| Document summary: |
| Order Guide for Digital S-Series (Standard & Hi Temp) |
| Document Types: WI, OP, FORM, PS, TS, ES |
| Title | Number |
| ORDERING GUIDE - DIGITAL S-SERIES (Standard & Hi Temp) | 502673 |

ALL COPIES OF THIS DOCUMENT MUST BE CONFIRMED AS LATEST ISSUE

| Form No: | 502673 | ORDERING GUIDE - DIGITAL S-SERIES (Standard & Hi Temp) |
| --- | --- | --- |

| S | D |  |  |  |  |  |  |  |  |  |  |  |  |  | -3 (denotes Orbit3) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Total Measurement Range |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| x | x | x |  |  |  |  |  |  |  |  |  |  |  |  |
| x = mm |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IP Rating |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 65 |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 67 | (IP 67 not available with Hi Temp) |  |  |  |  |  |
| Core/Carrier Type |  |  |  |  |  |  |  |  |  |  |  |
| P |  | Guided Core/Carrier + Spring - M6 x 1.0 thread |  |  |  |  |
| S |  | Guided core/carrier - M6 x 1.0 thread |  |  |  |  |  |
| U |  | Guided core/carrier with 6 mm Universal Joints * |  |  |
| V |  | Guided Core/Carrier + Spring + Tip * |  |  |  |  |  |
|  |  | * Not for S200 & S300 without Solartron approval |  |  |  |  |
| Temperature |  |  |  |  |  |  |  |  |  |  |  |  |
| Z |  | Standard |  |  | Refers to Transducer only |  |
| H |  | High temperature | Refers to Transducer only |  |
|  |  | Note! | Solartron PIE Module (Orbit) fitted as standard |
| Cable length |  |  |  |  |  |  |  |  |  |  |  |  |
| X | X |  | XX * cable length in metres. |  |  |  |
|  |  |  | * No greater than 10 metres without Solartron approval |

| Product Description |  |
| --- | --- |

See overleaf for Accessories, Springs and Ball Tips

| Retrofittable Accessories |  |
| --- | --- |
| (Not suitable for S200 and S300) |  |
| Ball Tip Adapter with Ball Tip | Part number |
|  |  |  | 805192-SX |
| Springs |  |  | Part number |
| 5 mm |  |  | 208739/0025 |
| 10 mm |  |  | 208739/0050 |
| 15 mm |  |  | 208739/0075 |
| 20 mm |  |  | 208739/0100 |
| 30 mm |  |  | 208739/0150 |
| 50 mm |  |  | 208739/0250 |
| 100 mm |  |  | 208739/0500 |
| 150 mm |  |  | 208739/0750 |
| 200 mm | Guided Core/Carrier + Spring + Tip (Not for S200 & S300) | 208739/1000 |
| 300 mm |  | 208739/1500 |