| the information contained in this drawing shall not be reproduced in any form without permission in writing from solartron metrology ltd. ( 2005 |
| --- |
| solartron metrology ltd., steyning way, bognor regis, sussex, england, po22 9st |
| tolerances unless otherwise stated |  |
| hole diameters size to plus. |  |
| dimensions in mm |  |
|  | Name | Signature | Date |
| Original Author | Refer to original EDCR |  | 11/04/2005 |
| Last Modified by | Pavel Kramorenko |  | 13/10/2015 |
| Approved by | Andrew Keal |  | 13/10/2015 |
| FOR EFFECTIVITY DATE REFER TO EDCR |
| 6 | 22029 | Description added |
| 5 | 21851 | Spring + Tip options added |
| 4 | 19363 | Unipolar & Bipolar strokes clarified for use with universal joint |
| 3 | 19154 | * Not for V100 & V150 added |
| 2 | 18974 | Guided Core/Carrier + Spring + Tip(Not for S100 & S150) added to Retrofittable Accessories |
| 1 | 18768 | Configurator re-designed and raised to issue 1 |
| H | 18152 | Change to option V – Guided Core/Carrier + Spring + Tip – not for S100 & S150 |
| G | 18059 | Cable length changed to maximum 5M except for VS/10 which remains at 3M |
| F | 17171 | Title Changed and layout clarified. |
| E | 17154 | Axial Connector removed |
| D | 17102 | Terminology standardised and layout rationalised. |
| C | 16917 | P and V added to Core/Carrier Type |
| B | 16969 | UPDATED |
| A | 16969 | NEW FORM |
| Issue | EDCR | Change Comments - for detailed information refer to EDCR. |
| Document summary: |
| DC S-Series Ordering Guide |
| Document Types: WI, OP, FORM, PS, TS, ES |
| Title | Number |
| ORDERING GUIDE - DC S-SERIES | 502674 |

ALL COPIES OF THIS DOCUMENT MUST BE CONFIRMED AS LATEST ISSUE

| Form No: | 502674 | ORDERING GUIDE - DC S-SERIES |
| --- | --- | --- |

| V |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Measurement Range (mm) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Note! |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| for +/- volts, quote +/- mm |  |  |  |  |  |  |  |
| for 0-5 V or 10 V, quote total travel |  |  |  |  |  |  |  |
| IP Rating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 67 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Core/Carrier Type |  |  |  |  |  |  |  |  |  |  |
| M |  | Free 6.3 mm core - M4 x 0.7 thread |
| P |  | Guided Core/Carrier + Spring – M6 x 1.0 thread |
| S |  | Guided core/carrier - M6 x 1.0 thread |
| T |  | Free core + carrier |
| U |  | Guided core/carrier with 6 mm Universal Joints * ** |
| V |  | Guided Core/Carrier + Spring + Tip * |
|  |  | * Not for use with V100 & V150 bipolar and V200 & V300 unipolar without Solartron approval |
|  |  | ** Not available with Axial Connector |  |  |  |  |  |
| Output Range |  |  |  |  |  |  |  |  |  |  |  |
| A |  | -5 to + 5 VDC |  |  |  |  |  |  |  |  |  |
| B |  | 0 to +10 VDC |  |  |  |  |  |  |  |  |
| C |  | +5 to -5 VDC |  |  |  |  |  |  |  |  |
| D |  | +10 to 0 VDC |  |  |  |  |  |  |  |  |
| E |  | +10 to -10 VDC |  |  |  |  |  |  |  |  |
| F |  | -10 to +10 VDC |  |  |  |  |  |  |  |  |
| G |  | 0 to +5 VDC |  |  |  |  |  |  |  |  |
| H |  | +5 to 0 VDC |  |  |  |  |  |  |  |  |
| Electrical Connections |  |  |  |  |  |  |  |  |
| N |  | Cable only |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D |  | Din Plug 5 way 180º screw lock |  |  |  |  |  |  |  |
| L |  | Axial connector with mating half * |  |  |  |  |  |  |
|  |  | * Not available with Universal Joints |  |  |
| Cable Length |  |  |  |  |  |  |  |  |
| X |  | X = cable length in metres * |  |  |  |  |  |  |  |  |
| 0 |  | If no cable required with Axial connector |  |  |  |
|  |  | * No greater than 5 metres |  |  |  |

| Product Description |  |
| --- | --- |

See overleaf for Accessories, Springs and Ball Tips

| Retrofittable Accessories |  |
| --- | --- |
| (Not suitable for V100 and V150) |  |
| Ball Tip Adapter with Ball Tip | Part number |
|  |  |  | 805192-SX |
| Springs |  |  | Part number |
| ±2.5 mm |  |  | 208739/0025 |
| ±5 mm |  |  | 208739/0050 |
| ±7.5 mm |  |  | 208739/0075 |
| ±10 mm |  |  | 208739/0100 |
| ±15 mm |  |  | 208739/0150 |
| ±25 mm |  |  | 208739/0250 |
| ±50 mm |  |  | 208739/0500 |
| ±75 mm |  |  | 208739/0750 |
| ±100 mm | Guided Core/Carrier + Spring + Tip (Not for V100 & V150) | 208739/1000 |
| ±150 mm |  | 208739/1500 |

# Text boxes

B&G

D&H

A&F

C&E