| the information contained in this drawing shall not be reproduced in any form without permission in writing from solartron metrology ltd. ( 2009 |
| --- |
| solartron metrology ltd., steyning way, bognor regis, sussex, england, po22 9st |
| tolerances unless otherwise stated |  |
| hole diameters size to plus. |  |
| dimensions in mm |  |
|  | Name | Signature | Date |
| Original Author | Sales |  | 19/03/2009 |
| Last Modified by | Pavel Kramorenko |  | 13/10/2015 |
| Approved by | Andrew Keal |  | 13/10/2015 |
| FOR EFFECTIVITY DATE REFER TO EDCR |
| 9 | 22029 | Description added |
| 8 | 21851 | Spring + Tip options added |
| 7 | 19623 | Cable requirement clarified |
| 6 | 19154 | * Not for H100 & H150 added |
| 5 | 19036 | Temperature added |
| 4 | 18974 | Guided Core/Carrier + Spring + Tip(Not for S100 & S150) added to Retrofittable Accessories |
| 3 | 18980 | BICM output documented |
| 2 | 18973 | Reference to IP67 rating for probe removed |
| 1 | 18768 | New Configurator – released at issue 1 |
| Issue | EDCR | Change Comments - for detailed information refer to EDCR. |
| Document summary: |
| Ordering Guide for LVDT S-Series (Hi Temp - 200 degress C) |
| Document Types: WI, OP, FORM, PS, TS, ES |
| Title | Number |
| ORDERING GUIDE - LVDT S-SERIES (Hi Temp - 200 degrees C) | 502874 |

ALL COPIES OF THIS DOCUMENT MUST BE CONFIRMED AS LATEST ISSUE

| Form No: | 502874 | ORDERING GUIDE - LVDT S-SERIES (Hi Temp - 200 degrees C) |
| --- | --- | --- |

| H |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Measurement Range (+/- mm) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IP Rating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Core/Carrier Type |  |  |  |  |  |  |  |  |  |  |  |  |  |
| M |  | 6.3 mm core - M4 x 0.7 thread |  |  |  |  |  |  |  |  |  |
| P |  | Guided Core/Carrier + Spring - M6 x 1.0 thread |  |  |  |  |  |
| S |  | Guided core/carrier - M6 x 1.0 thread |  |  |  |  |  |  |  |
| T |  | Free core + carrier |  |  |  |  |  |  |  |  |  |  |  |
| U |  | Guided core/carrier with 6 mm Universal Joints * ** |  |  |  |  |  |
| V |  | Guided Core/Carrier + Spring + Tip * |  |  |  |  |  |  |  |
|  |  | * Not for H100 & H150 without Solartron approval |  |  |  |
|  |  | ** Not available with Axial Connector |  |  |  |
| Electrical Connections |  |  |  |  |  |  |  |
| N |  | Cable only |  |  |  |  |  |  |  |
| A |  | 0 - 24 V BICM fitted ** |  |  |  |  |  |  |  |  |  |  |
| B |  | 15 V - 0 - 15 V BICM fitted ** |  |  |  |  |  |  |
| D |  | Din Plug 5 way 240º screw lock |  |  |  |  |  |
| L |  | Axial connector with mating half * |  |  |  |  |  |
| F |  | 15 V - 0 - 15 V BICM fitted ** + Din Plug 5 way 240º screw lock |  |  |  |
| G |  | 0 - 24 V BICM fitted ** + Din Plug 5 way 240º screw lock |  |  |  |  |
| J |  | IP 67 BICM fitted ** (not 24 Volt) |  |  |  |  |  |  |  |  |  |
| K |  | IP 67 BICM fitted ** + Din Plug 5 way 240º screw lock (not 24 Volt) |  |
|  |  | * Axial connector not available with U/J |  |  |
|  |  | ** BICM Output = (10 V |  |  |
| Cable Length in Metres |  |  |  |  |  |  |  |  |
| 0 | X |  | 0X = cable length in metres (Solartron approval required for 5 metres and above) |
| Y | Z |  | With BICM |  |  |  |  |  |  |  |  |  |  |  |
| Y= cable length in metres between transducer and BICM (no greater than 5 metres) |
| Z =cable length in metres after BICM (no greater than 9 metres) |
| 0 | 0 |  | If no cable required with Axial connector |

| Product Description |  |
| --- | --- |

See overleaf for Accessories, Springs and Ball Tips

| Retrofittable Accessories |  |
| --- | --- |
| (Not suitable for H100 and H150) |  |
| Ball Tip Adapter with Ball Tip | Part number |
|  |  |  | 805192-SX |
| Springs |  |  | Part number |
| ±2.5 mm |  |  | 208739/0025 |
| ±5 mm |  |  | 208739/0050 |
| ±7.5 mm |  |  | 208739/0075 |
| ±10 mm |  |  | 208739/0100 |
| ±15 mm |  |  | 208739/0150 |
| ±25 mm |  |  | 208739/0250 |
| ±50 mm |  |  | 208739/0500 |
| ±75 mm |  |  | 208739/0750 |
| ±100 mm | Guided Core/Carrier + Spring + Tip (Not for H100 & H150) | 208739/1000 |
| ±150 mm |  | 208739/1500 |